## 1.INSTALL FIRE
ESTIMATE FOR: |  |  |  |  | ESTIMATE No. |  |  | PAGE No.
2.8 | [9 empty] | Version History |  |  | Non Productive Overtime Rates
[9 empty] | V1 | First Issue | 6.3.23
| DESCRIPTION |  | LABOUR DETAIL |  |  | MATERIAL DETAIL |  | Comments | V1.1 | Change Cable Type on dropdown | 2.7.23 | Install | Hour | Day | Day Rate
|  |  |  | Install Labour Cost | 36.07 |  | Sell Rate |  | V2 | Labour Rate Changed | 17.5.24 | Normal Time | 52 | 416
Price Updated |  |  | Unit | Total |  | Nett | Nett |  | V2.1 | Hilti Fixings Added | 20.5.24 | Sat Before 12 | 15.6
|  | Quantity | Hours | Hours |  | Unit | Total |  | V2.2 | Claculation Error Corrected | 5.6.24 | Sat After 12 | 31.2 | 187.2 | 603.2
[6 empty] | Price | Price |  | V2.3 | Calculation Error Corrected, Labout Rate updated | 16.8.24 | Sun | 31.2 | 249.6 | 665.6
| DEVICES | [7 empty] | V2.4 | YT4 Installation time corrected, manual entry on cable changed to auto calculate cost | 4.3.24
| FIRE PANELS | 0 | 4 | 0 | 0 |  |  |  | V2.5 | Cable price updated, removed shot fired added FP500 | 2025-11-12 | Commissioning | Hour | Day | Day Rate
| LOOPS | 0 | 0.25 | 0 | 0 |  |  |  |  | Corrected time on Hilti fixings Added Gripples, |  | Normal Time | 62.5 | 500
| REPEATER PANEL | 0 | 1 | 0 | 0 |  |  |  |  | pink sleeving & wagos |  | Sat Before 12 | 18.75
| FLUSHING KIT | 0 | 0.5 | 0 | 0 |  |  |  | V2.6 | Calculation Error on Linian Clips & Tyrwaps corrected | 2025-11-21 | Sat After 12 | 37.5 | 225 | 725
| MANUAL CALLPOINT | 0 | 0.5 | 0 | 0 |  |  |  | V2.7 | Calculation Error on Gripple Kits corrected | 2025-11-24 | Sun | 37.5 | 300 | 800
| SENSORS | 0 | 0.25 | 0 | 0 |  |  | Fit to Box & Terminate | V2.8 | Fixed autocalc error on metal tywraps | 2026-05-19
| SOUNDERS | 0 | 0.5 | 0 | 0 | [6 empty] | Commissioning (Network) | Hour | Day | Day Rate
| INTERFACES | 0 | 0.75 | 0 | 0 | [6 empty] | Normal Time | 75 | 600
| DOOR HOLDERS | 0 | 0.5 | 0 | 0 | [6 empty] | Sat Before 12 | 18.75
| MAINS INTERFACES | 0 | 1 | 0 | 0 | [6 empty] | Sat After 12 | 37.5 | 225 | 825
| PSUs | 0 | 0.5 | 0 | 0 | [6 empty] | Sun | 37.5 | 300 | 900
| Aspiration Panel | 0 | 4 | 0 | 0
|  | 0 |  | 0 | 0
| L.E.D. (1/2 Point) | 0 | 0.25 | 0 | 0
| Redcare | 0 | 2 | 0 | 0
| PSU/Mains I/F | 0 | 1 | 0 | 0
0
0
| TOTAL DEVICE COUNT | 0 |  | 0 | 0
ASPIRATION PIPE (TO BE DEVELOPED)
CABLE
| LOOPS | [14 empty] | Cable Cost | Cable Type | m/point | % on Tray
m/point | Cable Type | % On Tray | [13 empty] | 0.9 | Standard | 10 | 0
10 | Enhanced | 50 | [13 empty] | 1.18 | Enhanced | 12 | 10
2025-11-12 | AEI Firetec Enhanced 2C1.5mm Fixed to Fabric | 0 | 0.08 | 0 | 0 | 1.18 | 0 | Auto Calculated | [9 empty] | 15 | 20
2025-11-12 | AEI Firetec Enhanced 2C1.5mm Fixed to Tray/Basket | 0 | 0.04 | 0 | 0 | 1.18 | 0 | Auto Calculated | [9 empty] | 20 | 30
2025-11-12 | AEI Firetec Enhanced 2C1.5mm Loop Feeds | 0 | 0.08 | 0 | 0 | 1.18 | 0 | Auto Calculated | [9 empty] | 25 | 40
| Manual Entry | 0 | 0.08 | 0 | 0 | 1.18 | 0 | [10 empty] | 30 | 50
| TOTAL CABLE (Enhanced 2 Core 1.5 Loop Cable) | 0 |  | 0 | 0 |  | 0 | Rounded up to nearest 100m | [9 empty] | 50 | 60
2025-11-12 | FP400 3 core fixed to fabric | 0 | 0.1 | 0 | 0 | 2.25 | 0 | [10 empty] | 35 | 90
2025-11-12 | FP400 3 core fixed on Tray/Basket | 0 | 0.08 | 0 | 0 | 2.25 | 0 | [10 empty] | 40 | 70
2025-11-12 | FP400 3 core in duct | 0 | 0.06 | 0 | 0 | 2.25 | 0 | [11 empty] | 80
| TOTAL CABLE FP400 (2 Core 1.5mm) | 0 |  | 0 | 0 |  | 0 | Ensure Cables are bought to cut length | [10 empty] | 90
2026-05-19 | FP500 3 core fixed to fabric | 0 | 0.1 | 0 | 0 | 4.7 | 0 | [11 empty] | 100
2026-05-19 | FP500 3 core fixed on Tray/Basket | 0 | 0.08 | 0 | 0 | 4.7 | 0
2026-05-19 | FP500 3 core in duct | 0 | 0.06 | 0 | 0 | 4.7 | 0
| TOTAL CABLE FP500 (3 Core 1.5mm) | 0 |  | 0 | 0 |  | 0 | Ensure Cables are bought to cut length
NETWORK
2024-05-17 | AEI Firetec Enhanced 4C1.5mm Fixed to Fabric | 0 | 0.08 | 0 | 0 | 2.95 | 0
2024-05-17 | AEI Firetec Enhanced 4C1.5mm On Tray/Basket | 0 | 0.06 | 0 | 0 | 2.95 | 0 | Auto Calculated
| TOTAL CABLE (4 Core Enhanced 1.5 Network Cable) | 0 |  | 0 | 0 |  | 0 | Rounded up to nearest 100m
2024-05-17 | FP400 3C1.5mm fixed to fabric | 0 | 0.1 | 0 | 0 | 2.45 | 0
2024-05-17 | FP400 3C1.5mm On tray/basket | 0 | 0.08 | 0 | 0 | 2.45 | 0 | Auto Calculated
2024-05-17 | FP400 3C1.5mm in duct | 0 | 0.06 | 0 | 0 | 2.45 | 0
| TOTAL CABLE (3 Core FP400 1.5 Network Cable) | 0 |  | 0 | 0 |  | 0 | Ensure Cables are bought to cut length
Check Price | FP600 3C1.5mm fixed to fabric | 0 | 0.1 | 0 | 0 | 2.99 | 0
Check Price | FP600 3C1.5mm On Tray/Basket | 0 | 0.08 | 0 | 0 | 2.99 | 0
Check Price | FP600 3C1.5mm in duct | 0 | 0.06 | 0 | 0 | 2.99 | 0
| TOTAL CABLE (3 Core FP400 1.5 Network Cable) | 0 |  | 0 | 0 |  | 0 | Ensure Cables are bought to cut length
CABLE (OTHER)
Check Price | MICC 2C 1.5MM fixed to fabric | 0 | 0.1 | 0 | 0 | 3.2504 | 0
Check Price | MICC 2C 1.5MM on Tray/Basket | 0 | 0.8 | 0 | 0 | 3.2504 | 0
| TOTAL CABLE (MICC 2 Core 1.5mm) | 0 |  | 0 | 0 |  | 0 | Rounded up to nearest 100m
Check Price | MICC 4C 1.5MM fixed to fabric | 0 | 0.1 | 0 | 0 | 5.95 | 0
Check Price | MICC 4C 1.5MM on tray/basket | 0 | 0.08 | 0 | 0 | 5.95 | 0
| TOTAL CABLE (MICC 4 Core 1.5mm) | 0 |  | 0 | 0 |  | 0 | Rounded up to nearest 100m
MISCELLANEOUS
Check Price | Draka 910244 data cable 2pair Scr Red 100m tray |  | 5 | 0 | 0 | 320.28 | 0
Check Price | Draka 910244 data cable 2pair Scr Red 100m clipped |  | 7 | 0 | 0 | 320.28 | 0
Check Price | Draka 910244 data cable 2pair Scr Red 100m supply |  |  | 0 | 0 | 320.28 | 0
2024-05-17 | 2c 2.5mm T&E per metre |  | 0.08 | 0 | 0 | 0.49 | 0 | Rounded up to nearest 100m
2024-05-17 | 2c 1.5mm T&E per metre |  | 0.08 | 0 | 0 | 0.61 | 0 | Rounded up to nearest 100m
|  |  |  | 0 | 0 |  | 0
|  |  |  | 0 | 0 |  | 0
|  |  |  | 0 | 0 |  | 0
|  |  |  | 0 | 0 |  | 0
| TOTAL MISCELLANEOUS |  |  | 0 | 0 |  | 0
CONTAINMENT
PVC Trunking
| YT2 25mmx16mm per metre |  | 0.06 | 0 | 0 | 1.0336 | 0
| D-Line (double) METAL F-CLIP FOR YT2 |  | 0.01 | 0 | 0 | 0.5 | 0
| YT3 (38x16) per metre |  | 0.12 | 0 | 0 | 1.802 | 0
| YT4 (40x25) per metre |  | 0.12 | 0 | 0 | 8.3504 | 0
| 100x100 per metre |  | 0.12 | 0 | 0 | 10.37 | 0
| BENDS |  | 0.1 | 0 | 0 | 1.4144 | 0
Conduit
| 25mm PVC Conduit (3m) | 0 | 0.1 | 0 | 0 | 3.7 | 0
| 25mm PVC Conduit draw in boxes |  | 0.1 | 0 | 0 | 0.68 | 0
| 25mm PVC Couplers |  | 0.02 | 0 | 0 | 0.5848 | 0
| 25mm metal Conduit saddles WHITE |  | 0.1 | 0 | 0 | 0.204 | 0
2024-05-17 | 25mm Galv Conduit (3.75m) |  | 0.3 | 0 | 0 | 7.95 | 0
| 25mm Galv Conduit saddles |  | 0.1 | 0 | 0 | 0.3 | 0
| 25mm bush & Coupling |  | 0.05 | 0 | 0 | 0.4624 | 0
| 25mm CONLOCK BESA box |  | 0.12 | 0 | 0 | 2.8016 | 0
| 25mm CONLOCK coupler |  | 0.12 | 0 | 0 | 1.802 | 0
| 25mm CONLOCK Female adaptor |  | 0.1 | 0 | 0 | 2.4208 | 0
Unistrut
2024-05-17 | Slotted Unistrut 41mm X 41mm per metre (3m) | 0 | 0.25 | 0 | 0 | 4.33 | 0
| 41MM X 41MM internal couplers (each) |  | 0.15 | 0 | 0 | 2.5024 | 0
| 41MM X 41MM beam clamp (each) |  | 0.15 | 0 | 0 | 10.4244 | 0
| Slotted Unistrut 41MM X 21MM per metre |  | 0.25 | 0 | 0 | 3.8352 | 0
| 41MM X 21MM internal couplers (each) |  | 0.25 | 0 | 0 | 2.006 | 0
| unistrut 90 deg angle bracket 2 hole (each) |  | 0.25 | 0 | 0 | 1.3532 | 0
| 6MM ZEBS EACH |  | 0.02 | 0 | 0 | 0.0816 | 0
Miscellaneous
| RC-320T 25mm saddle clip (8mm THREADED ROD) |  | 0.15 | 0 | 0 | 0.544 | 0
2022-11-23 | 8mm NUTS & WASHERS per 100 |  |  | 0 | 0 | 5.5 | 0
2022-11-23 | 8mm THREADED ROD per metre |  | 0.1 | 0 | 0 | 0.55 | 0
| 6mm THREADED ROD per metre |  | 0.15 | 0 | 0 | 2.21 | 0
| M6 NUTS & WASHERS BOX OF 100 |  |  | 0 | 0 | 5.984 | 0
| MUNSEN RING BACK PLATE |  | 0.15 | 0 | 0 | 2.04 | 0
| 8mm DROP IN ANCHORS- 100 pack |  |  | 0 | 0 | 16.0004 | 0
| DROP IN ANCHOR setting tool/ 10mm SDS drill EACH |  |  | 0 | 0 | 11.356 | 0
| 3" Galv Light duty Tray plate & fittings per metre |  | 0.2 | 0 | 0 | 5.78 | 0
| 3" Galv Heavy duty Tray plate & fittings per metre |  | 0.2 | 0 | 0 | 17 | 0
| 3" tray stand-off bracket |  | 0.2 | 0 | 0 | 0.952 | 0
| ` |  |  | 0 | 0 |  | 0
|  |  |  | 0 | 0 |  | 0
|  |  |  | 0 | 0 |  | 0
|  |  |  | 0 | 0 |  | 0
|  |  |  | 0 | 0 |  | 0
| TOTAL CONTAINMENT |  |  | 0 | 0 |  | 0
FIXINGS & SUNDRIES (CABLE & DEVICES)
2025-09-11 | RED COMPRESSION GLANDS | 0 | 0.015 | 0 | 0 | 0.18 | 0 | Auto Calculated
2024-05-17 | GALVANISED BOXES | 0 | 0.083 | 0 | 0 | 1.25 | 0 | Auto Calculated
2024-05-17 | TIE WRAPS |  | 0.012 | 0 | 0 | 0.15 | 0 | Auto Calculated
|  |  |  | 0 | 0 | 0.02 | 0 | Auto Calculated
2025-09-11 | Gripple Kit 1m (ZIPCLIP) | 0 | 0.15 | 0 | 0 | 2.36 | 0
2025-09-11 | Gripple Kit 2m (ZIPCLIP) |  | 0.15 | 0 | 0 | 2.51 | 0
|  | 0 |  | 0 | 0 |  | 0
| Linian Clips 9-12mm | 0 | 0.015 | 0 | 0 | 0.22 | 0 | Auto Calculated
|  |  |  | 0 | 0 |  | 0
FIXINGS & SUNDRIES (NETWORK)
2023-02-20 | RED COMPRESSION GLANDS |  | 0.01 | 0 | 0 | 0.2 | 0
2024-05-27 | ARMOURED GLANDS (2 Pkt) |  | 0.25 | 0 | 0 | 3.95 | 0
| CABLE CLEATS & FIXINGS | 0 | 0.075 | 0 | 0 | 0.15 | 0 | Auto Calculated | [11 empty] | % Shot Fired
2025-09-11 | METAL TIE WRAPS | 0 | 0.016 | 0 | 0 | 0.06 | 0 | Auto Calculated
| PVC TIE WRAPS |  | 0.016 | 0 | 0 | 0.02 | 0 | Auto Calculated | [11 empty] | 10
20
30
|  |  |  | 0 | 0 |  | 0 | [12 empty] | 40
| FIXINGS & SUNDRIES (OTHER) | [18 empty] | 50
Check Price | 100 CEF CR812 GIRDER CLIPS (S TYPE) 8-12mm |  | 0.02 | 0 | 0 | 31.96 | 0 | [12 empty] | 60
2023-02-02 | SWA CW20S FP400 Pack Glands/Shrouds pack of 2 | 0 | 0.25 | 0 | 0 | 3.5 | 0 | [12 empty] | 70
2023-02-02 | FP400 Cable Cleats | 0 | 0.075 | 0 | 0 | 0.1 | 0 | [12 empty] | 80
| MICC GLANDS (Per 10) |  |  | 0 | 0 | 22.44 | 0 | [12 empty] | 90
| MICC POTS AND SEALS (Per 10) |  | 0.2 | 0 | 0 | 16.2656 | 0 | [12 empty] | 100
| SHROUDS |  |  | 0 | 0 | 0.34 | 0
2023-02-02 | INSULATING TAPE |  | 0 | 0 | 0 | 0.85 | 0
2023-02-02 | Porcelain Connectors |  |  | 0 | 0 | 0.95 | 0
| PVC Connectors (per Strip) |  |  | 0 | 0 | 0.6 | 0
| WAGO 2 Way Connectors (100) |  | 0 | 0 | 0 | 28.9 | 0
2024-05-20 | Double Hilti Clips X-DFC 8 MX (Hospital) (Nail reqd.) |  | 0.01 | 0 | 0 | 1.18 | 0
2024-05-20 | Hilti Single Clip X-FB 8 MX Nail Reqd.) |  | 0.01 | 0 | 0 | 0.48 | 0
2024-05-20 | Hilti Double Clip X-DFB 8 MX (Nail Reqd) |  | 0.01 | 0 | 0 | 0.45 | 0
2024-05-20 | Ceiling Hangar X-ECC MX (Hospital for Gripple) |  | 0.01 | 0 | 0 | 0.79 | 0
2024-05-20 | Hilti Nail X-P 17 B3 MX |  |  | 0 | 0 | 0.19 | 0
| Pink Sleeving (1 per Job) |  |  | 0 | 0 | 9.95 | 0
| miscellaneous |  | 0 | 0 | 0 |  | 0
| TOTAL FIXINGS & SUNDRIES |  |  | 0 | 0 |  | 0
| PLANT HIRE (PER WEEK) |  | 0 | 0 | 0 |  | 0
2024-05-17 | 3.2m/Tower |  | 2 | 0 | 0 | 20.16 | 0 | MEP
2024-05-17 | Delta Deck |  |  | 0 | 0 | 15 | 0 | MEP
2024-05-17 | Podium 6 Tread |  |  | 0 | 0 | 18 | 0 | MEP
2024-05-17 | Podium 10 Tread |  |  | 0 | 0 | 20 | 0 | MEP
2024-05-17 | Peco Lift (Wind Up) 3.5m |  |  | 0 | 0 | 30 | 0 | MEP
2024-05-17 | Eco (Wind Up) 4.5m |  |  | 0 | 0 | 40 | 0 | MEP
2024-05-17 | 8m Scissor |  |  | 0 | 0 | 88 | 0 | MEP
2024-05-17 | Tool Vault (Small) |  |  | 0 | 0 | 11.1 | 0 | MEP
2024-05-17 | Tool Vault (Large) | 0 |  | 0 | 0 | 16.65 | 0 | MEP
2024-05-17 | 8m Scaffold |  | 4 | 0 | 0 | 51.66 | 0 | MEP
2024-05-17 | Nano SP (6.5m) |  |  | 0 | 0 | 65 | 0 | MEP
0
2024-05-17 | Delivery(Plant) each way up to 20 miles |  |  | 0 | 0 | 10 | 0 | MEP
2024-05-17 | Delivery(Lifters) each way up to 20 miles |  |  | 0 | 0 | 50 | 0 | MEP
| TOTAL PLANT HIRE |  |  | 0 | 0 |  | 0
MISCELLANEOUS
| Mileage |  |  | 0 | 0 | 0.25 | 0
| Parking (Hospital) | 0 |  | 0 | 0 | 20 | 0
| Lodge |  |  | 0 | 0 |  | 0
| Making Good |  | 0.75 | 0 | 0 | 5 | 0
| Drawings (per drawing) |  |  | 0 | 0 | 50 | 0
| Zonel Plan |  |  | 0 | 0 | 50 | 0
|  |  |  | 0 | 0 |  | 0
|  |  |  | 0 | 0 |  | 0
|  |  |  | 0 | 0 |  | 0
|  | Hours | Cost | Materials | Total | Price Per Point
| Cable Installation Labour & Materials | 0 | 0 | 0 | 0 | #DIV/0! | Price per point does not include
| Network Hours & Materials | 0 | 0 | 0 | 0 |  | Containment
| Total Cable (Other) | 0 | 0 | 0 | 0 |  | Access
| Second Fix Hours | 0 | 0 |  | 0
| Total Fixings & Sundries (Cable & Devices) | 0 | 0 | 0 | 0
| Total Fixings & Sundries (Network) | 0 | 0 | 0 | 0
| Total Fixings & Sundries (Other) | 0 | 0 | 0 | 0
| Total Containment | 0 | 0 | 0 | 0
| Total Plant Hire | 0 | 0 | 0 | 0
| Total Misc. | 0 | 0 | 0 | 0
|  |  | TOTAL HOURS(Rounded Up) | 0 | 0
|  |  | TOTAL MATERIALS |  | 0
|  |  |  | Total Cost | 0

## 2.INSTALL FIRE
ESTIMATE FOR: | [7 empty] | ESTIMATE No. | [6 empty] | PAGE No. |  | OF
ver 1.0 25/11/22 |  |  | FIRE ALARMS
|  | PROJECT: |  |  | LABOUR DETAIL |  |  |  | ERECT ONLY |  | MATERIAL DETAIL |  |  |  | SUPPLY ONLY |  | SUPPLY & ERECT
[7 empty] | £ | 43 | SCHEDULE OF RATES |  |  |  | % | 0 | SCHEDULE OF RATES |  | SCHEDULE OF RATES
Item | Makers | Catalogue | DESCRIPTION |  | Unit | Total | Gross |  | Gross | Gross | Nett | Nett | Gross |  | Gross | Gross | Combined | Combined
Number | Name | Number |  | Quantity | Hours | Hours | Total |  | Unit | Total | Unit | Total | Total |  | Unit | Total | Gross Unit | Gross Total
|  |  | INSTALLATION COST |  |  |  | Price |  | Rate | Price | Price | Price | Price |  | Rate | Price | Rates | Price
|  |  | FIRE PANELS | 1 | 4 | 4 | 172 |  | 172 | 172 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 172
|  |  | REPEATER PANEL | 1 | 1 | 1 | 43 |  | 43 | 43 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 43
|  |  | FLUSHING KIT |  | 0.5 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0!
|  |  | MANUAL CALLPOINT | 25 | 0.5 | 12.5 | 537.5 |  | 21.5 | 537.5 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 21.5
|  |  | SMOKE SENSORS | 200 | 0.5 | 100 | 4300 |  | 21.5 | 4300 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 21.5
|  |  | SOUNDERS | 38 | 0.5 | 19 | 817 |  | 21.5 | 817 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 21.5
|  |  | INTERFACES | 15 | 0.75 | 11.25 | 483.75 |  | 32.25 | 483.75 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 32.25
|  |  | DOOR HOLDERS | 5 | 0.5 | 2.5 | 107.5 |  | 21.5 | 107.5 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 21.5
|  |  | MAINS INTERFACES | 2 | 1 | 2 | 86 |  | 43 | 86 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 43 |  |  | Cable
|  |  | PSUs |  | 0.5 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! |  |  | devices @10m | 2880
|  |  | Loops |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! |  |  | interface tails@2m | 30
[5 empty] | 0.5 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! |  |  | LEDs @ 3m | 60
|  |  | make up |  | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! |  |  | Loop first device @ 10M | 0
|  |  | REDCARE | 1 | 2 | 2 | 86 |  | 86 | 86 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 86 |  |  |  | 2970
|  |  | TOTAL | 288
|  |  | L.E.D. | 20 | 0.25 | 5 | 215 |  | 10.75 | 215 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 10.75 |  |  | Device count
|  |  | TOTAL DEVICE COUNT | 298 | [17 empty] | devices | 288
|  |  | CABLE TOTAL | 2970 | [6 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  | LEDs | 10
| updated 02/03/22 |  | cable markers PER DEVICE |  | 0.05 | 0 | 0 |  | 0 | 0 | 0.024 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | VESDA devices | 0
298
|  |  | VESDA PANEL |  | 4 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  |  | PSU/Mains I/F |  | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  |  | VESDA PIPE per metre |  | 0.09 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | MCP PUTTY PADS |  | 0.1 | 0 | 0 |  | 0 | 0 | 5.74 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 17/05/22 |  | SOFTSKIN 2C 1.5MM | 1500 | 0.08 | 120 | 5160 |  | 3.44 | 5160 | 1.17 | 1755 | 1755 |  | 1.17 | 1755 | 4.61 | 6915 | 3.44 | 1.17
| updated 17/05/22 |  | SOFTSKIN 2C 1.5MM TRAY | 1500 | 0.06 | 90 | 3870 |  | 2.58 | 3870 | 1.17 | 1755 | 1755 |  | 1.17 | 1755 | 3.75 | 5625 | 2.58 | 1.17 |  |  | 3.5mmx140mm tyraps (100) |  | 1.29 | 0.0129
| updated 17/05/22 |  | SOFTSKIN 2C 1.5MM SUPPLY ONLY | [7 empty] | 1.17 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0! |  |  | Self adhesive inner labels (750) |  | 10 | 0.013333
[22 empty] | cablecraft- ERK2B/Y K-type tie on markers (100) |  |  | 156 | 1.56
| updated 17/05/22 |  | SOFTSKIN 4C 1.5MM |  | 0.08 | 0 | 0 |  | 0 | 0 | 1.95 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | [5 empty] | 1.5862
| updated 17/05/22 |  | SOFTSKIN 4C 1.5MM TRAY |  | 0.06 | 0 | 0 |  | 0 | 0 | 1.95 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 17/05/22 |  | SOFTSKIN 4C 1.5MM SUPPLY ONLY | [7 empty] | 1.95 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
[5 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 17/05/22 |  | ENHANCED SOFTSKIN 2C 1.5MM |  | 0.08 | 0 | 0 |  | 0 | 0 | 1.55 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 17/05/22 |  | ENHANCED SOFTSKIN 2C 1.5MM TRAY |  | 0.06 | 0 | 0 |  | 0 | 0 | 1.55 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 17/05/22 |  | ENHANCED SOFTSKIN 2C 1.5MM SUPPLY ONLY**** | [7 empty] | 1.55 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 17/05/22 |  | ENHANCED SOFTSKIN 4C 1.5MM |  | 0.08 | 0 | 0 |  | 0 | 0 | 2.78 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 17/05/22 |  | ENHANCED SOFTSKIN 4C 1.5MM TRAY |  | 0.06 | 0 | 0 |  | 0 | 0 | 2.78 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 17/05/22 |  | ENHANCED SOFTSKIN 4C 1.5MM SUPPLY ONLY | [7 empty] | 2.78 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 24/10/22 |  | FP400 4 core clipped |  | 0.08 | 0 | 0 |  | 0 | 0 | 4.2 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 24/10/22 |  | FP400 4 core duct |  | 0.04 | 0 | 0 |  | 0 | 0 | 4.2 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | SWA CW20S FP400 Pack Glands/Shrouds pack of2 |  | 0.1 | 0 | 0 |  | 0 | 0 | 6.5 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 09/11/22 |  | MICC 2C 1.5MM clipped |  | 0.08 | 0 | 0 |  | 0 | 0 | 4.78 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 09/11/22 |  | MICC 2C 1.5MM SUPPLY ONLY ****** | [7 empty] | 4.78 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 24/10/22 |  | FP400 2 core clipped |  | 0.08 | 0 | 0 |  | 0 | 0 | 3.17 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | 910244 2pair draka data cable 2pair
| updated 24/10/22 |  | FP400 2 core duct |  | 0.04 | 0 | 0 |  | 0 | 0 | 3.17 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 09/11/22 |  | MICC 4C 1.5MM tray |  | 0.08 | 0 | 0 |  | 0 | 0 | 8.75 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 11/03/22 |  | Draka 910244 data cable 2pair Scr Red 100m tray |  | 5 | 0 | 0 |  | 0 | 0 | 471 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 11/03/22 |  | Draka 910244 data cable 2pair Scr Red 100m clipped |  | 7 | 0 | 0 |  | 0 | 0 | 471 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 11/03/22 |  | Draka 910244 data cable 2pair Scr Red 100m supply | [7 empty] | 471 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 2c 2.5mm T&E per metre |  | 0.08 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | 2c 1.5mm T&E per metre |  | 0.08 | 0 | 0 |  | 0 | 0 | 0.74 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 09/11/22 |  | MICC GLANDS (Per 10) | [7 empty] | 33 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 09/11/22 |  | MICC POTS AND SEALS (Per 10) |  | 0.2 | 0 | 0 |  | 0 | 0 | 23.92 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | SHROUDS | [7 empty] | 0.5 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 20/25mm PVC Conduit per metre |  | 0.09 | 0 | 0 |  | 0 | 0 | 1.6 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | 25mm PVC Conduit draw in boxes | [7 empty] | 1 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 25mm PVC Couplers | [7 empty] | 0.86 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | TRUNKING - YT2 25mmx16mm per metre |  | 0.2 | 0 | 0 |  | 0 | 0 | 1.52 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | TRUNKING - YT3 (38x16) per metre |  | 0.2 | 0 | 0 |  | 0 | 0 | 2.65 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | TRUNKING - BENDS | [7 empty] | 2.08 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | TRUNKING - YT4 (40x25) per metre |  | 0.12 | 0 | 0 |  | 0 | 0 | 12.28 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | TRUNKING - 100x100 per metre |  | 0.12 | 0 | 0 |  | 0 | 0 | 15.25 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | TRUNKING - 100x100 T (&90) bends |  | 0.12 | 0 | 0 |  | 0 | 0 | 53 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | 20mm Galv Conduit per metre |  | 0.1 | 0 | 0 |  | 0 | 0 | 4.66 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | 20mm Galv Conduit saddles | [7 empty] | 0.28 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 20mm bush & Coupling | [7 empty] | 0.68 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 01/10/21 |  | FUR K16 RC-320T 25mm conduit 8mm rod clip - EACH | [7 empty] | 0.83 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
|  |  | D-Line (double) METAL F-CLIP FOR YT2 (per 100) | [7 empty] | 66 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 25mm Galv Conduit per metre |  | 0.1 | 0 | 0 |  | 0 | 0 | 3.08 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | 25mm Galv Conduit saddles |  | 0.1 | 0 | 0 |  | 0 | 0 | 0.33 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | 25mm bush & Coupling |  | 0.1 | 0 | 0 |  | 0 | 0 | 0.68 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | 25mm CONLOCK BESA box | [7 empty] | 4.12 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 25mm CONLOCK coupler | [7 empty] | 2.65 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 25mm CONLOCK Female adaptor | [7 empty] | 3.56 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 25mm Galv Conduit saddles WHITE | [7 empty] | 0.3 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | Slotted Unistrut 41mm X 41mm per metre |  | 0.25 | 0 | 0 |  | 0 | 0 | 7.5 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | 41MM X 41MM internal couplers (each) | [7 empty] | 3.68 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 41MM X 41MM beam clamp (each) | [7 empty] | 15.33 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | Slotted Unistrut 41MM X 21MM per metre |  | 0.25 | 0 | 0 |  | 0 | 0 | 5.64 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | 41MM X 21MM internal couplers (each) | [7 empty] | 2.95 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 07/01/22 |  | unistrut 90 deg angle bracket 2 hole (each) | [7 empty] | 1.99 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 8mm THREADED ROD per metre | [7 empty] | 3.25 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 20/12/21 |  | RC-320T 25mm saddle clip (8mm THREADED ROD) | [7 empty] | 0.8 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 02/03/22 |  | 8mm NUTS & WASHERS per 100 | [7 empty] | 22.78 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 6mm THREADED ROD per metre |  | 0.15 | 0 | 0 |  | 0 | 0 | 3.25 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | MUNSEN RING BACK PLATE (PACK OF 5) |  | 0.15 | 0 | 0 |  | 0 | 0 | 15 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | M6/M8 NUTS & WASHERS BOX OF 100 | [7 empty] | 8.8 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
|  |  | 6MM ZEBS EACH | [7 empty] | 0.12 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 8MM DROP IN ANCHORS- 100 pack | [7 empty] | 23.53 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 01/10/21 |  | DROP IN ANCHOR setting tool/ 10mm SDS drill EACH | [7 empty] | 16.7 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | 3" Galv Light duty Trayplate & fittings per metre |  | 0.2 | 0 | 0 |  | 0 | 0 | 8.5 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | 3" Galv Heavy duty Trayplate & fittings per metre |  | 0.2 | 0 | 0 |  | 0 | 0 | 25 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | 3" tray stand-off bracket | [7 empty] | 1.4 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/02/22 |  | Cablofil Conduit take-off plate (CEF) | [7 empty] | 3.31 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0!
| updated 15/11/22 |  | 100 CEF CR812 GIRDER CLIPS (S TYPE) 8-12mm |  | 0 | 0 | 0 |  | 0 | 0 | 47 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  |  | RED COMPRESSION GLANDS (Per 100) | 404 | 0 | 0 | 0 |  | 0 | 0 | 42 | 16968 | 16968 |  | 42 | 16968 | 42 | 16968 | 0 | 42
| updated 15/02/22 |  | GALVANISED BOXES | 200 | 0 | 0 | 0 |  | 0 | 0 | 3.45 | 690 | 690 |  | 3.45 | 690 | 3.45 | 690 | 0 | 3.45
|  |  | METAL TIE WRAPS (Per 100) |  | 0 | 0 | 0 |  | 0 | 0 | 16.05 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  |  | PVC TIE WRAPS (Per 100) |  | 0 | 0 | 0 |  | 0 | 0 | 2 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  |  | INSULATING TAPE |  | 0 | 0 | 0 |  | 0 | 0 | 1.04 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | CQR - 8 Core alarm cable, type 1, screened, LSZH, 100m |  | 1 | 0 | 0 |  | 0 | 0 | 37 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  |  | SLEEVING |  | 0 | 0 | 0 |  | 0 | 0 | 5 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/11/22 |  | 100 GIRDER CLIPS CEF BC500 8-14mm |  | 0 | 0 | 0 |  | 0 | 0 | 100 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
| updated 15/02/22 |  | BRASS M4'S (Per 100) |  | 0 | 0 | 0 |  | 0 | 0 | 9.78 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
Drop rods hours
|  |  | CONNECTOR BLOCK (Pk 10) |  | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | Sell @32% | Cost
| updated 11/07/22 |  | 4" Galv Heavy duty Trayplate per metre |  | 0.2 | 0 | 0 |  | 0 | 0 | 38.98 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | 37045.75 | 25191.11 | Total
| updated 25/11/22 |  | FIXINGS | [7 empty] | 0.55 | 0 | 0 |  | 0 | 0 |  |  |  | #DIV/0! |  | 30198 | 20534.64 | Mats
|  |  | 4" Galv Heavy duty Trayplate lid |  | 0 | 0 | 0 |  | 0 | 0 | 35.22 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | 0 | 0 | Access Equip
|  |  | miscellaneous |  | 0 | 0 | 0 |  | 0 | 0 | 11 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | 6847.75 | 4656.47 | Install
|  |  | Power Tower Nano or PICU 3m working height platform |  | 0 | 0 | 0 |  | 0 | 0 | 80 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  |  | PLANT |  | 0 | 0 | 0 |  | 0 | 0 | 350 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
[5 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | 7.3m/hour
[6 empty] | Labour | [5 empty] | Material | [5 empty] | Total Sell
[6 empty] | Total | Selling |  |  |  |  | Total | Selling |  |  |  |  | Value at 32% |  |  |  | COST
|  |  | ESTIMATE TOTALS : |  |  | 369.25 | 15877.75 |  |  |  |  | 21168 | 21168 |  |  |  |  | 37045.75 |  |  |  | 25191.11
|  |  |  | WORKS DURATION |  | 49.2333 |  | days
[18 empty] | Sell at 32% |  |  | Devices
[6 empty] | 9.8467 |  | weeks | [9 empty] | 37045.75 |  |  | 298